## Slide 1: Deep learning based drift correction in atomically resolved STEM images
Vinko Sršan1,2, Marjan Stoimchev 1,3, Dragi Kocev3, Sašo Šturm1,2,4,
Sašo Džeroski3
1 Jožef Stefan International Postgraduate School
2 Department for Nanostructured Materials, Jožef Stefan Institute
3 Department of Knowledge Technologies, Jožef Stefan Institute
4 Department of Geology, Faculty of Natural Sciences and Engineering, University of Ljubljana
MLM4MS
Ljubljana, 2024

## Slide 2
https://euinasean.eu/eu-green-deal/

## Slide 4
Critical Raw materials for Strategic Technologies and Sectors in the EU
Reimer, Maximilian, et al., Metals, 2017

## Slide 5
crystal structure
Nd
Fe
B
Nd
Fe
B
a = b = 8.77600 , c = 12.11943

## Slide 6
Scanning transmission electron microscope (STEM) provides detailed information about materials atomic structure

## Slide 7: STEM mode of operation
Fast scan
Slow scan

## Slide 8: Scanning ROI under drift
Slow scan
Fast scan
Fast scan
Slow scan
Slow scan
Fast scan

## Slide 9
Jones, L., & Nellist, P. D. (2013). Identifying and correcting scan noise and drift in the scanning transmission electron microscope. Microscopy and Microanalysis, 19(4), 1050-1060.
Image source: Prof. Sašo Šturm

## Slide 10: Convolutional Autoencoder
Decoder:
Sub-pixel convolution as an up-sampling layer to produce the high-resolution output
Encoder:
DinoV2
Oquab, M., Darcet, T., Moutakanni, T., Vo, H., Szafraniec, M., Khalidov, V., ... & Bojanowski, P. (2023). Dinov2: Learning robust visual features without supervision. arXiv preprint arXiv:2304.07193.

## Slide 11: Convolutional Autoencoder
Luminance:
Contrast:
Structure:

## Slide 12: Multislice simulations for data generation
.
.
.
Jacob Madsen and Toma Susi. The abTEM code: transmission electron microscopy from first principles. Open Research Europe 1:24, 2021.
Simulation parameters:
Slice thickness = 1
Electrostatic potential = Kirklands parametrization
TDS = 100 runs, 0.2
HT = 200 kV
Convergence angle = 30 mrad

## Slide 13
Drifted image
Target image
Image pairs
Total number of Target images: 2880
Original image resolution: 1024x1024
Total number of image pairs: 28800
Image parameters:
  4 magnifications
  15 dose levels
  3 thicknesses
  16 filters

## Slide 14: Results
MSE
PSNR: 27.500
SSIM: 0.582
MSE: 0.001
PSNR: 19.769
SSIM: 0.198
MSE: 0.01
PSNR: 27.004
SSIM: 0.524
MSE: 0.001
PSNR: 28.342
SSIM: 0.542
MSE: 0.001
PSNR: 21.124
SSIM: 0.250
MSE: 0.007
PSNR: 28.718
SSIM: 0.614
MSE: 0.001
MS-SSIM

## Slide 18: Acknowledgement
This work was supported by Slovenian research agency under programme P2-0084, project J7-4637.
Special thanks to Department of Knowledge Technologies (Marjan Stomchev, Dragi Kocev and Sašo Džeroski)